## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 18 |  |  |  | 0
Vs commanded | DT_STRING |  | 18 |  |  |  | 1
Vs measured | DT_STRING |  | 18 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Vs commanded | Vs measured | vcmd(hex) | Calc Vs | %error |  | Hex Calc | %error
15:02 | 0 | 0.0785 | 0 | 0.1216 | 54.9045 |  | 2.1944e-11 | #DIV/0!
15:02 | 37 | 0.0785 | 25 | 1.3019 | 1558.4713 |  | 2.1944e-11 | -100
15:02 | 37 | 0.0785 | 25 | 1.3019 | 1558.4713 |  | 2.1944e-11 | -100
15:02 | 53 | 0.078 | 35 | 1.8123 | 2223.4615 |  | -0.015674 | -100.0296
15:03 | 59 | 0.859 | 3B | 2.0037 | 133.2596 |  | 24.4671 | -58.5304
15:03 | 59 | 0.08435 | 3B | 2.0037 | 2275.4594 |  | 0.18339 | -99.6892
15:04 | 59 | 0.0767 | 3B | 2.0037 | 2512.3859 |  | -0.056426 | -100.0956
15:03 | 60 | 0.859 | 3C | 2.0356 | 136.9732 |  | 24.4671 | -59.2215
15:01 | 80 | 2.614 | 50 | 2.6736 | 2.28 |  | 79.4828 | -0.64655
15:01 | 256 | 8.258 | 100 | 8.288 | 0.36328 |  | 256.4107 | 0.16041
15:01 | 336 | 10.831 | 150 | 10.84 | 0.083095 |  | 337.069 | 0.31814
15:01 | 512 | 16.447 | 200 | 16.4544 | 0.044993 |  | 513.1191 | 0.21858
15:01 | 592 | 19.014 | 250 | 19.0064 | -0.039971 |  | 593.5893 | 0.26847
15:00 | 848 | 27.218 | 350 | 27.1728 | -0.16607 |  | 850.768 | 0.32642
15:00 | 848 | 27.217 | 350 | 27.1728 | -0.1624 |  | 850.7367 | 0.32272 |  |  |  | -3.8119
15:05 | 936 | 30.011 | 3A8 | 29.98 | -0.1033 |  | 938.3229 | 0.24817
15:00 | 1023 | 32.471 | 3FF | 32.7553 | 0.87555 |  | 1015.4389 | -0.73911
[5 empty] | * | + |  |  | Inv | * | +
[5 empty] | 0.0319 | 0.1216 |  |  |  | 31.348 | -2.4608