## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 18 |  |  |  | 0
Is Commanded | DT_STRING |  | 18 |  |  |  | 1
Is Measured | DT_STRING |  | 18 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Is Commanded | Is Measured | Is Hex | Calculated | % Error | calc hex | %error
18:08 | 0 | 0.626 | 0 | 0.626 | 0 | 0 | #DIV/0!
18:08 | 16 | 1.769 | 10 | 1.8492 | 4.5336 | 14.9509 | -6.5566
18:08 | 32 | 3.04 | 20 | 3.0724 | 1.0658 | 31.5762 | -1.3244
18:08 | 48 | 4.237 | 30 | 4.2956 | 1.3831 | 47.2335 | -1.5969
18:08 | 64 | 5.507 | 40 | 5.5188 | 0.21427 | 63.8457 | -0.24117
18:09 | 80 | 6.695 | 50 | 6.742 | 0.70202 | 79.3852 | -0.76848
18:12 | 253 | 19.953 | FD | 19.9679 | 0.074425 | 252.8058 | -0.076777
18:12 | 254 | 20.043 | FE | 20.0443 | 0.0064861 | 253.983 | -0.0066947
18:09 | 256 | 20.351 | 100 | 20.1972 | -0.75574 | 258.0118 | 0.78585
18:09 | 336 | 26.462 | 150 | 26.3132 | -0.56232 | 337.9464 | 0.57928
18:09 | 512 | 40.096 | 200 | 39.7684 | -0.81704 | 516.2852 | 0.83694
18:09 | 592 | 46.23 | 250 | 45.8844 | -0.74757 | 596.5206 | 0.76362
18:10 | 768 | 59.834 | 300 | 59.3396 | -0.82629 | 774.467 | 0.84205
18:10 | 848 | 65.92 | 350 | 65.4556 | -0.70449 | 854.0746 | 0.71634
18:11 | 975 | 75.4 | 3CF | 75.1648 | -0.312 | 978.0772 | 0.31561
18:11 | 991 | 76.72 | 3DF | 76.388 | -0.43281 | 995.3434 | 0.43828
18:10 | 1007 | 77.95 | 3EF | 77.6112 | -0.4347 | 1011.4323 | 0.44015
18:10 | 1023 | 79.32 | 3FF | 78.8344 | -0.61227 | 1029.3525 | 0.62097
[8 empty] | Inv | * | +
[9 empty] | 13.0804 | -8.1884
[6 empty] | * | +
[6 empty] | 0.07645 | 0.626
[6 empty] | 4.5 | 4000