## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 115 |  |  |  | 0
Vmeas Measured (V) | DT_STRING |  | 115 |  |  |  | 1
Vmeas (Hex) | DT_STRING |  | 115 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Vmeas (Hex) | Vmeas Measured (V) | Calc Vmeas | Vmeas-hex | %error
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:18 | 0 | 0.081 | 0.3428 | 0 | 323.2099
11:19 | 47 | 0.68 | 0.68708 | 2F | 1.0404
11:19 | 49 | 0.68 | 0.70173 | 31 | 3.1949
11:19 | 48 | 0.68 | 0.6944 | 30 | 2.1176
11:19 | 50 | 0.68 | 0.70905 | 32 | 4.2721
11:19 | 46 | 0.68 | 0.67975 | 2E | -0.036765
11:19 | 50 | 0.68 | 0.70905 | 32 | 4.2721
11:19 | 48 | 0.68 | 0.6944 | 30 | 2.1176
11:17 | 229 | 2.029 | 2.0202 | E5 | -0.43248
11:17 | 232 | 2.029 | 2.0422 | E8 | 0.65057
11:17 | 232 | 2.029 | 2.0422 | E8 | 0.65057
11:17 | 234 | 2.029 | 2.0569 | EA | 1.3726
11:17 | 232 | 2.029 | 2.0422 | E8 | 0.65057
11:17 | 232 | 2.029 | 2.0422 | E8 | 0.65057
11:20 | 373 | 3.056 | 3.075 | 175 | 0.62255
11:20 | 373 | 3.056 | 3.075 | 175 | 0.62255
11:20 | 372 | 3.056 | 3.0677 | 174 | 0.38285
11:20 | 372 | 3.056 | 3.0677 | 174 | 0.38285 | * | +
11:20 | 372 | 3.056 | 3.0677 | 174 | 0.38285 | 0.007325 | 0.3428
11:20 | 374 | 3.056 | 3.0823 | 176 | 0.86224 | 3.25 | 8
11:20 | 373 | 3.056 | 3.075 | 175 | 0.62255
11:20 | 372 | 3.056 | 3.0677 | 174 | 0.38285
11:16 | 997 | 7.657 | 7.6458 | 3E5 | -0.14594
11:16 | 999 | 7.657 | 7.6605 | 3E7 | 0.045383
11:16 | 996 | 7.657 | 7.6385 | 3E4 | -0.24161
11:16 | 999 | 7.657 | 7.6605 | 3E7 | 0.045383
11:16 | 997 | 7.657 | 7.6458 | 3E5 | -0.14594
11:16 | 997 | 7.657 | 7.6458 | 3E5 | -0.14594
11:16 | 1344 | 10.197 | 10.1876 | 540 | -0.092184
11:16 | 1344 | 10.197 | 10.1876 | 540 | -0.092184
11:16 | 1341 | 10.197 | 10.1656 | 53D | -0.30769
11:16 | 1342 | 10.197 | 10.173 | 53E | -0.23585
11:16 | 1343 | 10.197 | 10.1803 | 53F | -0.16402
11:16 | 1342 | 10.197 | 10.173 | 53E | -0.23585
11:16 | 1343 | 10.197 | 10.1803 | 53F | -0.16402
11:16 | 1342 | 10.197 | 10.173 | 53E | -0.23585
11:16 | 1342 | 10.197 | 10.173 | 53E | -0.23585
11:16 | 2107 | 15.815 | 15.7766 | 83B | -0.24297
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:16 | 2108 | 15.815 | 15.7839 | 83C | -0.19665
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2458 | 18.376 | 18.3477 | 99A | -0.15428
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2458 | 18.376 | 18.3477 | 99A | -0.15428
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2455 | 18.376 | 18.3257 | 997 | -0.27386
11:15 | 2456 | 18.376 | 18.333 | 998 | -0.234
11:15 | 2457 | 18.376 | 18.3403 | 999 | -0.19414
11:15 | 2458 | 18.376 | 18.3477 | 99A | -0.15428
11:15 | 2458 | 18.376 | 18.3477 | 99A | -0.15428
11:15 | 2456 | 18.376 | 18.333 | 998 | -0.234
11:15 | 3226 | 24 | 23.9733 | C9A | -0.11146
11:15 | 3227 | 24 | 23.9806 | C9B | -0.080937
11:15 | 3227 | 24 | 23.9806 | C9B | -0.080937
11:15 | 3225 | 24 | 23.9659 | C99 | -0.14198
11:15 | 3228 | 24 | 23.9879 | C9C | -0.050417
11:15 | 3224 | 24 | 23.9586 | C98 | -0.1725
11:15 | 3224 | 24 | 23.9586 | C98 | -0.1725
11:15 | 3224 | 24 | 23.9586 | C98 | -0.1725
11:15 | 3227 | 24 | 23.9806 | C9B | -0.080937
11:14 | 3575 | 26.563 | 26.5297 | DF7 | -0.12546
11:14 | 3578 | 26.563 | 26.5516 | DFA | -0.042729
11:14 | 3576 | 26.563 | 26.537 | DF8 | -0.097881
11:14 | 3574 | 26.563 | 26.5223 | DF6 | -0.15303
11:14 | 3575 | 26.563 | 26.5297 | DF7 | -0.12546
11:14 | 3577 | 26.563 | 26.5443 | DF9 | -0.070305
11:14 | 3575 | 26.563 | 26.5297 | DF7 | -0.12546
11:14 | 3573 | 26.563 | 26.515 | DF5 | -0.18061
11:14 | 3575 | 26.563 | 26.5297 | DF7 | -0.12546
11:14 | 3576 | 26.563 | 26.537 | DF8 | -0.097881
11:14 | 3573 | 26.563 | 26.515 | DF5 | -0.18061
11:14 | 3576 | 26.563 | 26.537 | DF8 | -0.097881
11:14 | 4037 | 29.94 | 29.9138 | FC5 | -0.087425
11:14 | 4037 | 29.94 | 29.9138 | FC5 | -0.087425
11:14 | 4042 | 29.94 | 29.9505 | FCA | 0.034903
11:14 | 4038 | 29.94 | 29.9212 | FC6 | -0.062959
11:14 | 4041 | 29.94 | 29.9431 | FC9 | 0.010438
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4093 | 30.355 | 30.324 | FFD | -0.10204
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4094 | 30.355 | 30.3314 | FFE | -0.077911
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:13 | 4095 | 30.355 | 30.3387 | FFF | -0.05378
11:12 | 4095 | 30.385 | 30.3387 | FFF | -0.15246
11:12 | 4095 | 30.385 | 30.3387 | FFF | -0.15246
11:12 | 4095 | 30.385 | 30.3387 | FFF | -0.15246
11:11 | 4095 | 30.612 | 30.3387 | FFF | -0.89287
11:11 | 4095 | 30.612 | 30.3387 | FFF | -0.89287
11:11 | 4095 | 31.12 | 30.3387 | FFF | -2.5107
11:11 | 4095 | 31.12 | 30.3387 | FFF | -2.5107
11:11 | 4095 | 31.12 | 30.3387 | FFF | -2.5107
11:10 | 4095 | 31.746 | 30.3387 | FFF | -4.4331
11:10 | 4095 | 31.746 | 30.3387 | FFF | -4.4331
11:10 | 4095 | 31.746 | 30.3387 | FFF | -4.4331
11:10 | 4095 | 31.746 | 30.3387 | FFF | -4.4331
11:10 | 4095 | 31.746 | 30.3387 | FFF | -4.4331