## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 96 |  |  |  | 0
Imeas Measured (mA) | DT_STRING |  | 96 |  |  |  | 1
Imeas (Hex) | DT_STRING |  | 96 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Imeas (Hex) | Imeas Measured (mA) | I calc | %error
19:39 | -1 | 0.33 | 0.2928 | -11.2727
19:39 | -1 | 0.33 | 0.2928 | -11.2727
19:39 | -1 | 0.33 | 0.2928 | -11.2727
19:39 | -1 | 0.33 | 0.2928 | -11.2727
19:39 | -1 | 0.33 | 0.2928 | -11.2727
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 0 | 0.33 | 0.352 | 6.6667 | * | +
19:39 | 0 | 0.33 | 0.352 | 6.6667 | 0.0592 | 0.352
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 0 | 0.33 | 0.352 | 6.6667
19:39 | 10 | 1.003 | 0.944 | -5.8824
19:39 | 10 | 1.003 | 0.944 | -5.8824
19:39 | 10 | 1.003 | 0.944 | -5.8824
19:39 | 11 | 1.003 | 1.0032 | 0.01994
19:39 | 12 | 1.003 | 1.0624 | 5.9222
19:39 | 12 | 1.003 | 1.0624 | 5.9222
19:38 | 34 | 2.417 | 2.3648 | -2.1597
19:38 | 35 | 2.417 | 2.424 | 0.28962
19:38 | 35 | 2.417 | 2.424 | 0.28962
19:38 | 35 | 2.417 | 2.424 | 0.28962
19:38 | 36 | 2.417 | 2.4832 | 2.7389
19:38 | 36 | 2.417 | 2.4832 | 2.7389
19:38 | 82 | 5.23 | 5.2064 | -0.45124
19:38 | 82 | 5.23 | 5.2064 | -0.45124
19:38 | 82 | 5.23 | 5.2064 | -0.45124
19:38 | 82 | 5.23 | 5.2064 | -0.45124
19:38 | 83 | 5.23 | 5.2656 | 0.68069
19:38 | 83 | 5.23 | 5.2656 | 0.68069
19:38 | 83 | 5.23 | 5.2656 | 0.68069
19:37 | 165 | 10.2 | 10.12 | -0.78431
19:37 | 166 | 10.2 | 10.1792 | -0.20392
19:37 | 167 | 10.25 | 10.2384 | -0.11317
19:37 | 167 | 10.2 | 10.2384 | 0.37647
19:37 | 332 | 20.1 | 20.0064 | -0.46567
19:37 | 333 | 20.1 | 20.0656 | -0.17114
19:37 | 333 | 20.1 | 20.0656 | -0.17114
19:37 | 333 | 20.1 | 20.0656 | -0.17114
19:37 | 333 | 20.1 | 20.0656 | -0.17114
19:37 | 334 | 20.1 | 20.1248 | 0.12338
19:37 | 335 | 20.1 | 20.184 | 0.41791
19:36 | 499 | 30.028 | 29.8928 | -0.45025
19:36 | 499 | 30.028 | 29.8928 | -0.45025
19:36 | 500 | 30.028 | 29.952 | -0.2531
19:36 | 500 | 30.028 | 29.952 | -0.2531
19:36 | 501 | 30.028 | 30.0112 | -0.055948
19:36 | 501 | 30.028 | 30.0112 | -0.055948
19:36 | 501 | 30.028 | 30.0112 | -0.055948
19:36 | 502 | 30.028 | 30.0704 | 0.1412
19:36 | 669 | 40.066 | 39.9568 | -0.27255
19:36 | 669 | 40.066 | 39.9568 | -0.27255
19:36 | 669 | 40.066 | 39.9568 | -0.27255
19:36 | 670 | 40.066 | 40.016 | -0.12479
19:36 | 670 | 40.066 | 40.016 | -0.12479
19:36 | 670 | 40.066 | 40.016 | -0.12479
19:36 | 672 | 40.066 | 40.1344 | 0.17072
19:36 | 672 | 40.066 | 40.1344 | 0.17072
19:35 | 839 | 50.095 | 50.0208 | -0.14812
19:35 | 840 | 50.095 | 50.08 | -0.029943
19:35 | 840 | 50.095 | 50.08 | -0.029943
19:35 | 841 | 50.095 | 50.1392 | 0.088232
19:35 | 841 | 50.095 | 50.1392 | 0.088232
19:35 | 841 | 50.095 | 50.1392 | 0.088232
19:34 | 1009 | 60.1 | 60.0848 | -0.025291
19:34 | 1009 | 60.1 | 60.0848 | -0.025291
19:34 | 1009 | 60.1 | 60.0848 | -0.025291
19:34 | 1009 | 60.1 | 60.0848 | -0.025291
19:34 | 1010 | 60.1 | 60.144 | 0.073211
19:34 | 1177 | 70.1 | 70.0304 | -0.099287
19:34 | 1177 | 70.1 | 70.0304 | -0.099287
19:34 | 1178 | 70.06 | 70.0896 | 0.04225
19:34 | 1178 | 70.08 | 70.0896 | 0.013699
19:34 | 1178 | 70.08 | 70.0896 | 0.013699
19:34 | 1344 | 80.08 | 79.9168 | -0.2038
19:34 | 1345 | 80.08 | 79.976 | -0.12987
19:34 | 1346 | 80.08 | 80.0352 | -0.055944
19:34 | 1346 | 80.08 | 80.0352 | -0.055944
19:34 | 1346 | 80.08 | 80.0352 | -0.055944
19:34 | 1346 | 80.08 | 80.0352 | -0.055944
19:34 | 1347 | 80.08 | 80.0944 | 0.017982
19:34 | 1347 | 80.08 | 80.0944 | 0.017982
19:33 | 1509 | 89.78 | 89.6848 | -0.10604
19:33 | 1510 | 89.81 | 89.744 | -0.073488
19:33 | 1510 | 89.81 | 89.744 | -0.073488
19:33 | 1511 | 89.81 | 89.8032 | -0.0075715
19:33 | 1512 | 89.81 | 89.8624 | 0.058345
19:32 | 1681 | 100.05 | 99.8672 | -0.18271
19:33 | 1681 | 100.05 | 99.8672 | -0.18271
19:33 | 1681 | 100.05 | 99.8672 | -0.18271
19:33 | 1682 | 100.05 | 99.9264 | -0.12354
19:33 | 1682 | 100.05 | 99.9264 | -0.12354
19:32 | 1684 | 100.05 | 100.0448 | -0.0051974
19:33 | 1684 | 100.05 | 100.0448 | -0.0051974