## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 56 |  |  |  | 0
Imeas Measured (mA) | DT_STRING |  | 56 |  |  |  | 1
Imeas (Hex) | DT_STRING |  | 56 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Imeas (Hex) | uA | Imeas Measured (mA) | I calc | %error | Icalc2 | &error2
16:16 | 280 | 2e-05 | 0.02 | 1.5e-05 | -25
16:16 | 281 | 2e-05 | 0.02 | 1.55e-05 | -22.5
16:16 | 281 | 2e-05 | 0.02 | 1.55e-05 | -22.5
16:16 | 281 | 2e-05 | 0.02 | 1.55e-05 | -22.5
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20 |  |  | * | +
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20 |  |  | 5e-07 | -0.000125
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20 |  |  | 4 | -2.5
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20
16:16 | 282 | 2e-05 | 0.02 | 1.6e-05 | -20
16:16 | 394 | 8e-05 | 0.08 | 7.2e-05 | -10
16:16 | 394 | 8e-05 | 0.08 | 7.2e-05 | -10
16:16 | 394 | 8e-05 | 0.08 | 7.2e-05 | -10
16:16 | 396 | 8e-05 | 0.08 | 7.3e-05 | -8.75
16:16 | 397 | 8e-05 | 0.08 | 7.35e-05 | -8.125
16:15 | 464 | 0.0001 | 0.1 | 0.000107 | 7 | 0.000132 | 32 | 5e-07 | -0.0001
16:15 | 464 | 0.0001 | 0.1 | 0.000107 | 7 | 0.000132 | 32 | 2.2
16:15 | 465 | 0.0001 | 0.1 | 0.0001075 | 7.5 | 0.0001325 | 32.5
16:15 | 466 | 0.0001 | 0.1 | 0.000108 | 8 | 0.000133 | 33
16:15 | 466 | 0.0001 | 0.1 | 0.000108 | 8 | 0.000133 | 33
16:15 | 468 | 0.0001 | 0.1 | 0.000109 | 9 | 0.000134 | 34
16:15 | 639 | 0.00019 | 0.19 | 0.0001945 | 2.3684 | 0.0002195 | 15.5263
16:15 | 639 | 0.00019 | 0.19 | 0.0001945 | 2.3684 | 0.0002195 | 15.5263
16:15 | 640 | 0.00019 | 0.19 | 0.000195 | 2.6316 | 0.00022 | 15.7895
16:15 | 640 | 0.00019 | 0.19 | 0.000195 | 2.6316 | 0.00022 | 15.7895
16:15 | 641 | 0.00019 | 0.19 | 0.0001955 | 2.8947 | 0.0002205 | 16.0526
16:15 | 641 | 0.00019 | 0.19 | 0.0001955 | 2.8947 | 0.0002205 | 16.0526
16:15 | 641 | 0.00019 | 0.19 | 0.0001955 | 2.8947 | 0.0002205 | 16.0526
16:15 | 641 | 0.00019 | 0.19 | 0.0001955 | 2.8947 | 0.0002205 | 16.0526
16:15 | 833 | 0.00029 | 0.29 | 0.0002915 | 0.51724 | 0.0003165 | 9.1379
16:15 | 835 | 0.00029 | 0.29 | 0.0002925 | 0.86207 | 0.0003175 | 9.4828
16:15 | 835 | 0.00029 | 0.29 | 0.0002925 | 0.86207 | 0.0003175 | 9.4828
16:15 | 835 | 0.00029 | 0.29 | 0.0002925 | 0.86207 | 0.0003175 | 9.4828
16:15 | 836 | 0.00029 | 0.29 | 0.000293 | 1.0345 | 0.000318 | 9.6552
16:15 | 836 | 0.00029 | 0.29 | 0.000293 | 1.0345 | 0.000318 | 9.6552
16:15 | 837 | 0.00029 | 0.29 | 0.0002935 | 1.2069 | 0.0003185 | 9.8276
16:14 | 1098 | 0.0004 | 0.4 | 0.000424 | 6 | 0.000449 | 12.25
16:14 | 1098 | 0.0004 | 0.4 | 0.000424 | 6 | 0.000449 | 12.25
16:14 | 1099 | 0.0004 | 0.4 | 0.0004245 | 6.125 | 0.0004495 | 12.375
16:14 | 1284 | 0.0005 | 0.5 | 0.000517 | 3.4 | 0.000542 | 8.4
16:14 | 1285 | 0.0005 | 0.5 | 0.0005175 | 3.5 | 0.0005425 | 8.5
16:14 | 1285 | 0.0005 | 0.5 | 0.0005175 | 3.5 | 0.0005425 | 8.5
16:14 | 1286 | 0.0005 | 0.5 | 0.000518 | 3.6 | 0.000543 | 8.6
16:14 | 1286 | 0.0005 | 0.5 | 0.000518 | 3.6 | 0.000543 | 8.6
16:14 | 1287 | 0.0005 | 0.5 | 0.0005185 | 3.7 | 0.0005435 | 8.7
16:14 | 1469 | 0.00059 | 0.59 | 0.0006095 | 3.3051 | 0.0006345 | 7.5424
16:14 | 1469 | 0.00059 | 0.59 | 0.0006095 | 3.3051 | 0.0006345 | 7.5424
16:14 | 1470 | 0.00059 | 0.59 | 0.00061 | 3.3898 | 0.000635 | 7.6271
16:14 | 1470 | 0.00059 | 0.59 | 0.00061 | 3.3898 | 0.000635 | 7.6271
16:14 | 1470 | 0.00059 | 0.59 | 0.00061 | 3.3898 | 0.000635 | 7.6271
16:14 | 1471 | 0.00059 | 0.59 | 0.0006105 | 3.4746 | 0.0006355 | 7.7119
16:13 | 1691 | 0.0007 | 0.7 | 0.0007205 | 2.9286 | 0.0007455 | 6.5
16:13 | 1692 | 0.0007 | 0.7 | 0.000721 | 3 | 0.000746 | 6.5714
16:13 | 1694 | 0.0007 | 0.7 | 0.000722 | 3.1429 | 0.000747 | 6.7143
16:13 | 1695 | 0.0007 | 0.7 | 0.0007225 | 3.2143 | 0.0007475 | 6.7857
16:13 | 2040 | 0.00086 | 0.86 | 0.000895 | 4.0698 | 0.00092 | 6.9767