## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 3
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 123 |  |  |  | 0
Imeas Measured (mA) | DT_STRING |  | 123 |  |  |  | 1
Imeas (Hex) | DT_STRING |  | 123 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Imeas (Hex) | Imeas Measured (mA) | Icalc | %error | Ical2 | %error2
15:24 | -5 | 0.00085 | 0.00085 | 1.2755e-14 | 0.0016 | 88.2353
15:23 | -4 | 0.0012 | 0.00135 | 12.5 | 0.00208 | 73.3333
15:24 | -4 | 0.00085 | 0.00135 | 58.8235 | 0.00208 | 144.7059
15:24 | -4 | 0.00085 | 0.00135 | 58.8235 | 0.00208 | 144.7059 | * | +
15:23 | -3 | 0.0012 | 0.00185 | 54.1667 | 0.00256 | 113.3333 | 0.0005 | 0.00335
15:23 | -3 | 0.0012 | 0.00185 | 54.1667 | 0.00256 | 113.3333
15:23 | -3 | 0.0012 | 0.00185 | 54.1667 | 0.00256 | 113.3333 | * | +
15:23 | -2 | 0.0022 | 0.00235 | 6.8182 | 0.00304 | 38.1818 | 0.00048 | 0.004
15:21 | 20 | 0.0111 | 0.01335 | 20.2703 | 0.0136 | 22.5225 | 8
15:21 | 20 | 0.0111 | 0.01335 | 20.2703 | 0.0136 | 22.5225
15:21 | 20 | 0.0111 | 0.01335 | 20.2703 | 0.0136 | 22.5225
15:21 | 21 | 0.0111 | 0.01385 | 24.7748 | 0.01408 | 26.8468
15:21 | 75 | 0.0413 | 0.04085 | -1.0896 | 0.04 | -3.1477
15:21 | 77 | 0.0413 | 0.04185 | 1.3317 | 0.04096 | -0.82324
15:21 | 77 | 0.0413 | 0.04185 | 1.3317 | 0.04096 | -0.82324
15:21 | 77 | 0.0413 | 0.04185 | 1.3317 | 0.04096 | -0.82324
15:20 | 140 | 0.071 | 0.07335 | 3.3099 | 0.0712 | 0.28169
15:20 | 140 | 0.071 | 0.07335 | 3.3099 | 0.0712 | 0.28169
15:20 | 141 | 0.071 | 0.07385 | 4.0141 | 0.07168 | 0.95775
15:20 | 141 | 0.071 | 0.07385 | 4.0141 | 0.07168 | 0.95775
15:21 | 141 | 0.071 | 0.07385 | 4.0141 | 0.07168 | 0.95775
15:20 | 142 | 0.071 | 0.07435 | 4.7183 | 0.07216 | 1.6338
15:21 | 142 | 0.071 | 0.07435 | 4.7183 | 0.07216 | 1.6338
15:20 | 196 | 0.0973 | 0.10135 | 4.1624 | 0.09808 | 0.80164
15:20 | 197 | 0.0973 | 0.10185 | 4.6763 | 0.09856 | 1.295
15:20 | 197 | 0.0973 | 0.10185 | 4.6763 | 0.09856 | 1.295
15:20 | 198 | 0.0973 | 0.10235 | 5.1901 | 0.09904 | 1.7883
15:20 | 198 | 0.0973 | 0.10235 | 5.1901 | 0.09904 | 1.7883
15:19 | 412 | 0.2 | 0.20935 | 4.675 | 0.20176 | 0.88
15:19 | 412 | 0.2 | 0.20935 | 4.675 | 0.20176 | 0.88
15:19 | 413 | 0.2 | 0.20985 | 4.925 | 0.20224 | 1.12
15:19 | 413 | 0.2 | 0.20985 | 4.925 | 0.20224 | 1.12
15:19 | 413 | 0.2 | 0.20985 | 4.925 | 0.20224 | 1.12
15:19 | 414 | 0.2 | 0.21035 | 5.175 | 0.20272 | 1.36
15:19 | 414 | 0.2 | 0.21035 | 5.175 | 0.20272 | 1.36
15:19 | 627 | 0.3036 | 0.31685 | 4.3643 | 0.30496 | 0.44796
15:19 | 629 | 0.3036 | 0.31785 | 4.6937 | 0.30592 | 0.76416
15:19 | 629 | 0.3036 | 0.31785 | 4.6937 | 0.30592 | 0.76416
15:19 | 630 | 0.3036 | 0.31835 | 4.8584 | 0.3064 | 0.92227
15:19 | 838 | 0.4076 | 0.42235 | 3.6187 | 0.40624 | -0.33366
15:19 | 842 | 0.4076 | 0.42435 | 4.1094 | 0.40816 | 0.13739
15:19 | 843 | 0.4076 | 0.42485 | 4.2321 | 0.40864 | 0.25515
15:19 | 845 | 0.4076 | 0.42585 | 4.4774 | 0.4096 | 0.49068
15:19 | 845 | 0.4076 | 0.42585 | 4.4774 | 0.4096 | 0.49068
15:18 | 1017 | 0.492 | 0.51185 | 4.0346 | 0.49216 | 0.03252
15:18 | 1019 | 0.492 | 0.51285 | 4.2378 | 0.49312 | 0.22764
15:18 | 1019 | 0.492 | 0.51285 | 4.2378 | 0.49312 | 0.22764
15:18 | 1019 | 0.492 | 0.51285 | 4.2378 | 0.49312 | 0.22764
15:18 | 1019 | 0.492 | 0.51285 | 4.2378 | 0.49312 | 0.22764
15:18 | 1020 | 0.492 | 0.51335 | 4.3394 | 0.4936 | 0.3252
15:18 | 1020 | 0.492 | 0.51335 | 4.3394 | 0.4936 | 0.3252
15:18 | 1277 | 0.617 | 0.64185 | 4.0276 | 0.61696 | -0.006483
15:18 | 1278 | 0.617 | 0.64235 | 4.1086 | 0.61744 | 0.071313
15:18 | 1280 | 0.617 | 0.64335 | 4.2707 | 0.6184 | 0.2269
15:18 | 1283 | 0.617 | 0.64485 | 4.5138 | 0.61984 | 0.46029
15:18 | 1451 | 0.7 | 0.72885 | 4.1214 | 0.70048 | 0.068571
15:18 | 1452 | 0.7 | 0.72935 | 4.1929 | 0.70096 | 0.13714
15:18 | 1454 | 0.7 | 0.73035 | 4.3357 | 0.70192 | 0.27429
15:18 | 1454 | 0.7 | 0.73035 | 4.3357 | 0.70192 | 0.27429
15:18 | 1454 | 0.7 | 0.73035 | 4.3357 | 0.70192 | 0.27429
15:18 | 1455 | 0.7 | 0.73085 | 4.4071 | 0.7024 | 0.34286
15:18 | 1457 | 0.7 | 0.73185 | 4.55 | 0.70336 | 0.48
15:18 | 1458 | 0.7 | 0.73235 | 4.6214 | 0.70384 | 0.54857
15:18 | 1458 | 0.7 | 0.73235 | 4.6214 | 0.70384 | 0.54857
15:18 | 1687 | 0.817 | 0.84685 | 3.6536 | 0.81376 | -0.39657
15:18 | 1689 | 0.817 | 0.84785 | 3.776 | 0.81472 | -0.27907
15:18 | 1691 | 0.817 | 0.84885 | 3.8984 | 0.81568 | -0.16157
15:17 | 1694 | 0.817 | 0.85035 | 4.082 | 0.81712 | 0.014688
15:18 | 1694 | 0.817 | 0.85035 | 4.082 | 0.81712 | 0.014688
15:18 | 1694 | 0.817 | 0.85035 | 4.082 | 0.81712 | 0.014688
15:17 | 1870 | 0.902 | 0.93835 | 4.0299 | 0.9016 | -0.044346
15:17 | 1870 | 0.902 | 0.93835 | 4.0299 | 0.9016 | -0.044346
15:17 | 1870 | 0.902 | 0.93835 | 4.0299 | 0.9016 | -0.044346
15:17 | 1870 | 0.902 | 0.93835 | 4.0299 | 0.9016 | -0.044346
15:17 | 1871 | 0.902 | 0.93885 | 4.0854 | 0.90208 | 0.0088692
15:17 | 1871 | 0.902 | 0.93885 | 4.0854 | 0.90208 | 0.0088692
15:17 | 1871 | 0.902 | 0.93885 | 4.0854 | 0.90208 | 0.0088692
15:17 | 1871 | 0.902 | 0.93885 | 4.0854 | 0.90208 | 0.0088692
15:17 | 1871 | 0.902 | 0.93885 | 4.0854 | 0.90208 | 0.0088692
15:17 | 1872 | 0.902 | 0.93935 | 4.1408 | 0.90256 | 0.062084
15:17 | 1872 | 0.902 | 0.93935 | 4.1408 | 0.90256 | 0.062084
15:17 | 1872 | 0.902 | 0.93935 | 4.1408 | 0.90256 | 0.062084
15:17 | 1872 | 0.902 | 0.93935 | 4.1408 | 0.90256 | 0.062084
15:17 | 1872 | 0.902 | 0.93935 | 4.1408 | 0.90256 | 0.062084
15:17 | 1873 | 0.902 | 0.93985 | 4.1962 | 0.90304 | 0.1153
15:17 | 1873 | 0.902 | 0.93985 | 4.1962 | 0.90304 | 0.1153
15:17 | 1874 | 0.902 | 0.94035 | 4.2517 | 0.90352 | 0.16851
15:17 | 1874 | 0.902 | 0.94035 | 4.2517 | 0.90352 | 0.16851
15:17 | 1996 | 0.9627 | 1.0013 | 4.0148 | 0.96208 | -0.064402
15:17 | 1996 | 0.9627 | 1.0013 | 4.0148 | 0.96208 | -0.064402
15:17 | 1996 | 0.9627 | 1.0013 | 4.0148 | 0.96208 | -0.064402
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1997 | 0.9627 | 1.0019 | 4.0667 | 0.96256 | -0.014542
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1998 | 0.9627 | 1.0024 | 4.1186 | 0.96304 | 0.035317
15:17 | 1999 | 0.9627 | 1.0029 | 4.1706 | 0.96352 | 0.085177
15:17 | 1999 | 0.9627 | 1.0029 | 4.1706 | 0.96352 | 0.085177
15:16 | 2035 | 0.98 | 1.0209 | 4.1684 | 0.9808 | 0.081633
15:16 | 2035 | 0.98 | 1.0209 | 4.1684 | 0.9808 | 0.081633
15:16 | 2036 | 0.98 | 1.0213 | 4.2194 | 0.98128 | 0.13061
15:16 | 2036 | 0.98 | 1.0213 | 4.2194 | 0.98128 | 0.13061
15:16 | 2036 | 0.98 | 1.0213 | 4.2194 | 0.98128 | 0.13061
15:16 | 2037 | 0.98 | 1.0218 | 4.2704 | 0.98176 | 0.17959
15:16 | 2037 | 0.98 | 1.0218 | 4.2704 | 0.98176 | 0.17959
15:16 | 2037 | 0.98 | 1.0218 | 4.2704 | 0.98176 | 0.17959
15:16 | 2037 | 0.98 | 1.0218 | 4.2704 | 0.98176 | 0.17959
15:16 | 2040 | 0.98 | 1.0233 | 4.4235 | 0.9832 | 0.32653