## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 5
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 5 |  | 30.000000 | 10.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel4 | 0 |  | 30.000000 | 20.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel0 | 3
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 693 |  |  |  | 0
Voltage | DT_STRING |  | 645 |  |  |  | 1
Current | DT_STRING |  | 645 |  |  |  | 2
Imeas (Hex) | DT_STRING |  | 48 |  |  |  | 1
Imeas Measured (mA) | DT_STRING |  | 48 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel4
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel0
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 658 |  |  |  | 0
Voltage | DT_STRING |  | 658 |  |  |  | 1
Current | DT_STRING |  | 658 |  |  |  | 2

## Channel2
Timestamp | Imeas (Hex) | Imeas Measured (mA) | Icalc | %error
18:19 | 1 | 0.56 | 0.5281 | -5.6964
18:19 | 0 | 0.56 | 0.469 | -16.25
18:19 | 0 | 0.56 | 0.469 | -16.25
18:19 | 1 | 0.56 | 0.5281 | -5.6964
18:19 | 7 | 1.008 | 0.8827 | -12.4306 | * | +
18:19 | 8 | 1.02 | 0.9418 | -7.6667 | 0.0591 | 0.469
18:19 | 8 | 1.02 | 0.9418 | -7.6667
18:19 | 8 | 1.02 | 0.9418 | -7.6667
18:19 | 7 | 1.02 | 0.8827 | -13.4608
18:19 | 174 | 10.43 | 10.7524 | 3.0911
18:19 | 175 | 10.43 | 10.8115 | 3.6577
18:19 | 174 | 10.43 | 10.7524 | 3.0911
18:19 | 175 | 10.43 | 10.8115 | 3.6577
18:19 | 245 | 15.083 | 14.9485 | -0.89173
18:19 | 245 | 15.13 | 14.9485 | -1.1996
18:19 | 248 | 15.13 | 15.1258 | -0.027759
18:19 | 245 | 15.13 | 14.9485 | -1.1996
18:19 | 247 | 15.13 | 15.0667 | -0.41837
18:19 | 329 | 20.01 | 19.9129 | -0.48526
18:19 | 330 | 20.01 | 19.972 | -0.18991
18:19 | 330 | 20.01 | 19.972 | -0.18991
18:19 | 329 | 20.01 | 19.9129 | -0.48526
18:19 | 331 | 20.08 | 20.0311 | -0.24353
18:19 | 329 | 20.08 | 19.9129 | -0.83217
18:19 | 330 | 20.08 | 19.972 | -0.53785
18:19 | 329 | 20.08 | 19.9129 | -0.83217
18:19 | 329 | 20.08 | 19.9129 | -0.83217
18:19 | 607 | 36.46 | 36.3427 | -0.32172
18:19 | 608 | 36.46 | 36.4018 | -0.15963
18:19 | 605 | 36.46 | 36.2245 | -0.64591
18:19 | 609 | 36.46 | 36.4609 | 0.0024685
18:19 | 883 | 52.85 | 52.6543 | -0.37029
18:19 | 884 | 52.85 | 52.7134 | -0.25847
18:19 | 882 | 52.85 | 52.5952 | -0.48212
18:19 | 883 | 52.85 | 52.6543 | -0.37029
18:19 | 883 | 52.85 | 52.6543 | -0.37029
18:19 | 1159 | 69.25 | 68.9659 | -0.41025
18:19 | 1160 | 69.25 | 69.025 | -0.32491
18:19 | 1159 | 69.25 | 68.9659 | -0.41025
18:19 | 1160 | 69.25 | 69.025 | -0.32491
18:19 | 1438 | 85.69 | 85.4548 | -0.27448
18:19 | 1437 | 85.69 | 85.3957 | -0.34345
18:19 | 1439 | 85.69 | 85.5139 | -0.20551
18:19 | 1435 | 85.69 | 85.2775 | -0.48139
18:19 | 1680 | 99.97 | 99.757 | -0.21306
18:19 | 1678 | 99.97 | 99.6388 | -0.3313
18:19 | 1677 | 99.97 | 99.5797 | -0.39042
18:19 | 1677 | 99.97 | 99.5797 | -0.39042

## Channel0
Timestamp | Voltage | Current