## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 4
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 10.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel4 | 0 |  | 30.000000 | 20.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 52 |  |  |  | 0
Imeas (Hex) | DT_STRING |  | 52 |  |  |  | 1
Imeas Measured (mA) | DT_STRING |  | 52 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel4
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index

## Channel2
Timestamp | Imeas (Hex) | Imeas Measured (mA) | uA->mA | Icalc | %error
18:48 | 200 | 0.1 | 0.0001 | 9.95e-05 | -0.5
18:48 | 198 | 0.1 | 0.0001 | 9.856e-05 | -1.44
18:48 | 199 | 0.1 | 0.0001 | 9.903e-05 | -0.97 | * | +
18:48 | 200 | 0.1 | 0.0001 | 9.95e-05 | -0.5 | 4.7e-07 | 5.5e-06
18:48 | 404 | 0.2 | 0.0002 | 0.00019538 | -2.31
18:48 | 403 | 0.2 | 0.0002 | 0.00019491 | -2.545
18:48 | 404 | 0.2 | 0.0002 | 0.00019538 | -2.31
18:48 | 402 | 0.2 | 0.0002 | 0.00019444 | -2.78
18:48 | 404 | 0.2 | 0.0002 | 0.00019538 | -2.31
18:48 | 403 | 0.2 | 0.0002 | 0.00019491 | -2.545
18:49 | 629 | 0.3 | 0.0003 | 0.00030113 | 0.37667
18:49 | 630 | 0.3 | 0.0003 | 0.0003016 | 0.53333
18:49 | 631 | 0.3 | 0.0003 | 0.00030207 | 0.69
18:49 | 630 | 0.3 | 0.0003 | 0.0003016 | 0.53333
18:49 | 851 | 0.4 | 0.0004 | 0.00040547 | 1.3675
18:49 | 851 | 0.4 | 0.0004 | 0.00040547 | 1.3675
18:50 | 853 | 0.4 | 0.0004 | 0.00040641 | 1.6025
18:50 | 849 | 0.4 | 0.0004 | 0.00040453 | 1.1325
18:50 | 1068 | 0.5 | 0.0005 | 0.00050746 | 1.492
18:50 | 1069 | 0.5 | 0.0005 | 0.00050793 | 1.586
18:50 | 1073 | 0.5 | 0.0005 | 0.00050981 | 1.962
18:50 | 1069 | 0.5 | 0.0005 | 0.00050793 | 1.586
18:50 | 1272 | 0.6 | 0.0006 | 0.00060334 | 0.55667
18:50 | 1274 | 0.6 | 0.0006 | 0.00060428 | 0.71333
18:50 | 1277 | 0.6 | 0.0006 | 0.00060569 | 0.94833
18:50 | 1275 | 0.6 | 0.0006 | 0.00060475 | 0.79167
18:51 | 1484 | 0.7 | 0.0007 | 0.00070298 | 0.42571
18:51 | 1486 | 0.7 | 0.0007 | 0.00070392 | 0.56
18:51 | 1484 | 0.7 | 0.0007 | 0.00070298 | 0.42571
18:51 | 1486 | 0.7 | 0.0007 | 0.00070392 | 0.56
18:51 | 1688 | 0.8 | 0.0008 | 0.00079886 | -0.1425
18:51 | 1690 | 0.8 | 0.0008 | 0.0007998 | -0.025
18:51 | 1692 | 0.8 | 0.0008 | 0.00080074 | 0.0925
18:51 | 1690 | 0.8 | 0.0008 | 0.0007998 | -0.025
18:51 | 1690 | 0.8 | 0.0008 | 0.0007998 | -0.025
18:52 | 1897 | 0.9 | 0.0009 | 0.00089709 | -0.32333
18:52 | 1898 | 0.9 | 0.0009 | 0.00089756 | -0.27111
18:52 | 1898 | 0.9 | 0.0009 | 0.00089756 | -0.27111
18:52 | 1897 | 0.9 | 0.0009 | 0.00089709 | -0.32333
18:52 | 2007 | 0.95 | 0.00095 | 0.00094879 | -0.12737
18:52 | 2009 | 0.95 | 0.00095 | 0.00094973 | -0.028421
18:52 | 2010 | 0.95 | 0.00095 | 0.0009502 | 0.021053
18:52 | 2008 | 0.95 | 0.00095 | 0.00094926 | -0.077895
18:53 | 2047 | 0.96 | 0.00096 | 0.00096759 | 0.79063
18:53 | 2047 | 0.96 | 0.00096 | 0.00096759 | 0.79063
18:53 | 2047 | 0.96 | 0.00096 | 0.00096759 | 0.79063
18:53 | 2047 | 0.96 | 0.00096 | 0.00096759 | 0.79063
18:53 | 2047 | 0.96 | 0.00096 | 0.00096759 | 0.79063