## test.txt (root)
Root Name | Title | Author | Date/Time | Groups | Description
test.txt |  |  |  | 5
Group | Channels | Description | Anodization_Voltage | Anoidzation_Current | Board_Revision | Calibration_Version | Date_of_Testing | Electrolyte | GUI__Rev | Material | Researcher
Channel1 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel2 | 3 |  | 30.000000 | 10.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel3 | 0 |  | 30.000000 | 100.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel4 | 0 |  | 30.000000 | 20.000000 | 2.1 | 2.0 | 11/28/2011 | Liquid | 2.5 | Titanium | Michael DeLibero
Channel0 | 3
Channel1
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel2
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 69 |  |  |  | 0
Imeas (Hex) | DT_STRING |  | 69 |  |  |  | 1
Imeas Measured (mA) | DT_STRING |  | 69 |  |  |  | 2
Channel3
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel4
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | Start Index
Channel0
Channel | Datatype | Unit | Length | Minimum | Maximum | Description | NI_ArrayColumn | Start Index
Timestamp | DT_STRING |  | 584 |  |  |  | 0
Voltage | DT_STRING |  | 584 |  |  |  | 1
Current | DT_STRING |  | 584 |  |  |  | 2

## Channel2
Timestamp | Imeas (Hex) | Imeas Measured (mA) | Icalc | %error
16:30 | 1132 | 0.0042 | 0.54886 | 12968.0476
17:30 | 0 | 0.0042 | 0.0038 | -9.5238
17:30 | 1 | 0.0042 | 0.0042815 | 1.9405
17:30 | 1 | 0.0042 | 0.0042815 | 1.9405
17:30 | 1 | 0.0042 | 0.0042815 | 1.9405
17:30 | 1 | 0.0042 | 0.0042815 | 1.9405
17:31 | 18 | 0.0128 | 0.012467 | -2.6016
17:31 | 18 | 0.0128 | 0.012467 | -2.6016
17:31 | 19 | 0.0128 | 0.012948 | 1.1602
17:31 | 19 | 0.0128 | 0.012948 | 1.1602 | * | +
17:29 | 45 | 0.0257 | 0.025468 | -0.90467 | 0.0004815 | 0.0038
17:29 | 46 | 0.0257 | 0.025949 | 0.96887
17:29 | 46 | 0.0257 | 0.025949 | 0.96887
17:29 | 46 | 0.0257 | 0.025949 | 0.96887
17:29 | 98 | 0.0515 | 0.050987 | -0.99612
17:29 | 98 | 0.0515 | 0.050987 | -0.99612
17:29 | 99 | 0.0515 | 0.051469 | -0.061165
17:29 | 100 | 0.0515 | 0.05195 | 0.87379
17:29 | 199 | 0.1012 | 0.099618 | -1.5627
17:29 | 201 | 0.1012 | 0.10058 | -0.61117
17:29 | 202 | 0.1012 | 0.10106 | -0.13538
17:29 | 202 | 0.1012 | 0.10106 | -0.13538
17:28 | 391 | 0.1919 | 0.19207 | 0.086764
17:28 | 391 | 0.1919 | 0.19207 | 0.086764
17:28 | 391 | 0.1919 | 0.19207 | 0.086764
17:28 | 391 | 0.1919 | 0.19207 | 0.086764
17:28 | 609 | 0.2977 | 0.29703 | -0.22388
17:28 | 610 | 0.2977 | 0.29752 | -0.062143
17:28 | 610 | 0.2977 | 0.29752 | -0.062143
17:28 | 611 | 0.2977 | 0.298 | 0.099597
17:28 | 611 | 0.2977 | 0.298 | 0.099597
17:27 | 832 | 0.4056 | 0.40441 | -0.29389
17:27 | 833 | 0.4056 | 0.40489 | -0.17517
17:27 | 833 | 0.4056 | 0.40489 | -0.17517
17:27 | 836 | 0.4056 | 0.40633 | 0.18097
17:27 | 1237 | 0.6002 | 0.59942 | -0.13071
17:27 | 1238 | 0.6002 | 0.5999 | -0.050483
17:27 | 1239 | 0.6002 | 0.60038 | 0.02974
17:27 | 1239 | 0.6002 | 0.60038 | 0.02974
17:26 | 1462 | 0.7082 | 0.70775 | -0.063118
17:27 | 1463 | 0.7082 | 0.70823 | 0.0048715
17:27 | 1463 | 0.7082 | 0.70823 | 0.0048715
17:27 | 1464 | 0.7082 | 0.70872 | 0.072861
17:27 | 1465 | 0.7082 | 0.7092 | 0.14085
17:26 | 1644 | 0.7945 | 0.79539 | 0.11152
17:26 | 1644 | 0.7945 | 0.79539 | 0.11152
17:26 | 1866 | 0.9028 | 0.90228 | -0.057709
17:26 | 1867 | 0.9028 | 0.90276 | -0.0043753
17:26 | 1867 | 0.9028 | 0.90276 | -0.0043753
17:26 | 1867 | 0.9028 | 0.90276 | -0.0043753
17:26 | 1869 | 0.9028 | 0.90372 | 0.10229
17:26 | 2000 | 0.9678 | 0.9668 | -0.10333
17:26 | 2002 | 0.9678 | 0.96776 | -0.0038231
17:26 | 2003 | 0.9678 | 0.96824 | 0.045929
17:26 | 2003 | 0.9678 | 0.96824 | 0.045929
17:26 | 2003 | 0.9678 | 0.96824 | 0.045929
17:25 | 2045 | 0.9895 | 0.98847 | -0.10435
17:25 | 2046 | 0.9895 | 0.98895 | -0.055685
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237
17:25 | 2047 | 0.9895 | 0.98943 | -0.0070237

## Channel0
Timestamp | Voltage | Current